## Sheet1
Building | Building Number | Notes | Initial Review Comments by ARC
Physical Plant Services Building | 198 | Flat roof | O = Okay, has potential
Activities and Recreation Center | 118 | Flat roof; hard to tell which portions are flat, this is a very rough estimate | O = Okay, has potential, there are some existing
North Campus Parking Deck | 1094 | ECE Building is planning on using this already | O - Okay, there has been a study completed for this site
Armory | 6 | 2200 m^2 flat roof, 4800 south facing curved dome roof | X = not recommended
Law Building | 156 | Flat roof | O = Okay, has potential
Ikenberry Dining Hall | 1247 | Flat roof | O = Okay, has potential
Atkins Tennis Center | 360 | Flat roof; Atkins Tennis Centery | O = Okay, has potential
Housing Food Stores | 217 | Flat roof | O = Okay, has potential
Vet. Medicine Basic Sciences Building | 350 | Flat roof | O = Okay, has potential
Loomis Laboratory of Physics | 67 | Flat roof | O = Okay, has potential
Veterinary Teaching Hospital | 292 | Flat roof | X = not recommended
Newmark Civil Engineering Building | 24 | Flat roof, however with the raised middle section shading may be a problem on the perimeter | O = Okay, has potential in some areas
Abbott Power Plant | 120 | Flat roof, a study was done by a senior design group with good information | O = Okay, has potential
Digital Computer Laboratory | 210 | Flat roof, shading may be a problem with tiered roof levels | O = Okay, has potential
Micro and Nanotechnology Laboratory | 237 | Flat roof | O = Okay, has potential
F-29 Parking Deck | 557 | Large flat parking deck; see ECE Building parking deck plans | O = Okay, has potential
Ag Engineering Sciences Building | 8 | Flat roof | O = Okay, has potential
Seitz Materials Research Laboratory | 66 | Flat roof, some shading | O = Okay, has potential
Rehabilitation Education Center | 176 | Flat roof | O = Okay, has potential
Huff Hall | 58 | flat roof | X = not recommended
Krannert Art Museum | 220 | Flat roof; satellite images aren't great, hard to tell what roof looks like | X = not recommended
Mechanical Engineering Laboratory | 29 | Flat roof portion | X = not recommended
Chemical and Life Sciences Building | 70 | Flat roof | O = Okay, has potential
Mechanical Engineering Building | 112 | Flat roof | O = Okay, has potential
Allen Residence Hall | 142 | Flat roof w/ connection to LAR | X = not recommended
Plant Sciences Laboratory | 256 | Flat roof on north side of greenhouses | O = Okay, has potential
Natural Resources Studies Annex | 321 | Flat roof; not pictured on map given | O = Okay, has potential
Timothy J. Nugent Hall | 1248 | Flat roof | O = Okay, has potential
Illini Union | 23 | 3/4 Flat roof, 1/4 south facing angled roof; access to angled roof may be difficult | X = not recommended
Institute for Genomic Biology | 1080 | Flat roof for a majority; appr. 300 m^2 angled south facing roof | O = Okay, has potential
Ice Arena | 14 | Flat roof | X = not recommended
Richard T. Ubben Basketball Complex | 257 | Flat roof | O = Okay, has potential
Campus Recreation Center - East | 364 | 1/2 South facing angled roof, 1/2 flat roof | x = not recommended
Not Named | 1096 | Flat roof; Oak Street Library Facility | O = Okay, has potential
Bousfield Hall | 1252 | Flat roof | O = Okay, has potential
Everitt Laboratory | 37 | Flat roof, already has solar up there | O = Okay, has potential
Music Building | 39 | Flat roof, may have the same issues as Krannert due to acoustics for some of the rooms | O = Okay, has potential
Education Building | 160 | Flat roof | X = not recommended
Foreign Languages Building | 172 | Flat roof | X = not recommended
Engineering Sciences Building | 174 | Flat roof, potential north shading from trees | O = Okay, has potential
O = Okay, has potential
X = not recommended