LIGHTING

- Number of lights

- Type

- Wattage

APPLIANCES

- Refrigerator

  - Replace if from before early 90’s

  - Top mount is better than side

  - Ice and water very inefficient

  - EPA Energy Star Appliances

MECHANICAL

- Check Types of Systems

- Check Location

- AC, Heat, Water Heater

- Duct Location and Insulation

ENVELOPE

- Classification of doors and windows

- Note badly damaged or missing panes of glass

- Note badly damaged doors

INSULATION LEVELS

- Check if possible

WALL MATERIAL

- Wood Frame, Masonry, Steel Frame

THERMOSTAT

- Map operating units

- Record Types

BLOWER DOOR

- Run a blower door test and graph buildings

- Trained by BRC

Pictures of everything

BRC would be willing to have a training day for the blower door test