## Bldg site visit data
Building Site Visit Data |  | Date:
Name of Institution: |  | Address:
Function: |  | Yr Built:
POC 1: |  | Square Footage:
position: |  | Lot Dimensions:
phone: |  | Stories:
e-mail
POC 2:
position:
phone:
e-mail
Utility Providers: Electric |  |  | Costs:
Gas
Water
Utility Bills and schedules
How did client hear about SEDAC?
Owner Concerns/ Interests/ Preferences:
Planning Horizon:
Hours of Operation: |  | Number of Occupants:
| Specifications | Settings |  | Maintenance/ Adequacy | Opportunities
Envelope:
walls
roof
floors
windows
doors
sealing
Heating:
controls
Cooling:
Ventilation:
air quality
Lighting:
Service Water:
Appliances/Equipment:
# of pcs
Site sketch:

## Room-light form
Lamp Type or window dimension
wattage
Rooms

## HVAC log
HVAC Equipment Type | Make | Model | Serial Number | Tons | Btu/hr | HP | EER | AFUE | Year

## plug loads
Description | Quantity | Notes
Network Servers
Computers
Monitors
Laptops
Servers
Printers
Copiers
Other Office Equipment
Individual Refrigerators
Kitchen Equipment
Walk-in Cooler
Stand alone refrigerator
Freezer
Ice Machine (?)
Dishwasher
Booster heater
Tray dryer
Other

## Mech equipt -pumps and fans
Description | Size | Notes
Pumps
Hydronic water pumps
Fans
Pneumatic Controls
Air compressor
Air dryer