## To-do list
To-do list |  |  |  | To be completed by: | Name | F&S shop that would handle any needed corrections
|  |  |  | Deadline: | Date
Done? | Mechanial | Due By | Notes
| Check Types of Systems |  |  |  |  | Pipe/Refrig/Machine/Sheet Metal
Check locations of systems (AC, Heat, Water heater)
Check if boiler pipes are insulated
Check Duct location (interior, exterior) and insulation
Done? | Cooling System | Due By | Notes
| Type of system |  |  |  |  | Refrigeration Shop
Location of the system
Done? | Heating System | Due By | Notes
| Type of system |  |  |  |  | Pipe fitters/Sheet Metal/Steam Distribution
Type of fuel system
How many space heaters are used in the building
Check furnace efficiency label
Check last date filter was changed
Check filter size
How often is the filter changed
Who is responsible for changing the filter?
Done? | Water Heater | Due By | Notes
| Location of water heater |  |  |  |  | Plumbers
Check if pipe from water heater is insulated
Check temperatures of water close to and far from heater
Is the maximum water temperature too hot for use
Done? | Air Vents / Baseboards | Due By | Notes
| Are the vents used to control the air flow volume |  |  |  |  | Temp Control/Sheet Metal
Check if vents or baseboards are obstructed
Check if vents are clean
Done? | Lighting | Due By | Notes
| Total number of lights |  |  |  |  | Students/Engineering
Dominant type of light
Wattage used by each light
Are lights turned off when not in use?
How many lights are left on during off hours?
Are light fixtures clean?
Done? | Thermostat | Due By | Notes
| Type of thermostat |  |  |  |  | Temp Control
Recorded temperature during the time of visit
When and how often is temperature setting changed?
Do the building occupants know how to use the thermostat
What are the preferred temperatures for the day and night
What are the preferred temperatures for winter and summer
Are there often disagreements over the thermostat setting
Is thermostat turned down or off when occupants are away
Done? | Drafts and Leaks | Due By | Notes
| Which rooms are hardest to heat? |  |  |  |  | Not done
Note drafty doors, windows, and fireplaces
Note drafty plumbing penetrations, ducts, vents, fans, outlets
Done? | Insulation | Due By | Notes
| What type of insulation is in the walls and roof? |  |  |  |  | Not done
are there major holes in the insulation placement?
Does any insulation need replacement?
Done? | Blower Door Test | Due By | Notes
| Document air leakages with thermal camera or smoke pencil |  |  |  |  | not done
record infiltration rate number
fix notable leaks with weather stripping, caulk, or insulation
Done? | Windows | Due By | Notes
| What are the dominant types of windows? |  |  |  |  | Carpenters/Glaziers
What are the dominant types of frames in the building?
Are windows left open to compensate for heating or cooling
Which rooms feel the draftiest?
Is weather stripping used?
Are the windows locked when they are closed?
Are any of the windows damaged severely?
Done? | Doors | Due By | Notes
| What are the dominant types of doors in the building |  |  |  |  | Carpenters
What are the dominant types of frames in the building
Which rooms feel the draftiest
Is weather stripping used
Are any of the doors damaged
Done? | Water Use | Due By | Notes
| What utilities are using water (faucets, dishwashers, toilets) |  |  |  |  | Not Done
Are faucet aeratos used?
Do any of the toilets leak/run constantly?
What is the type, size, and flush rate of each toilet?
What is the water flow of the other restroom devices?
Done? | Refrigerator / Freezer | Due By | Notes
| What brand/model of refrigerator, and how many kW it takes |  |  |  |  | Not Done
Where is the freezer located on it (top mount or side by side)
Does it have an ice/water dispensor on the door?
What is the temp of both the refrigerator and freezer?
Are the gaskets on the refrigerator and freezer tight?
Is it an EPA Energy Star appliance?
Done? | Electronics | Due By | Notes
| List types of electronic used and how many of each |  |  |  |  | Not done
Which are left on overnight?
which were on during visit?
Are computers set to sleep or turned off overnight?
Are power strips used?
Are power strips unplugged if not in use?
Done? | Other Damages | Due By | Notes
| Chipped Paint |  |  |  |  | Paint/Carpenters/Laborer Electricains
Holes in walls or ceiling
Broken or missing light bulbs
Broken or missing windows or doors
Rust or other corrosion
Broken, chipped, or rotting millwork