## Optimization Dashboard
Optimized Data Sheet: Pick the number of Grind2Energy equipment from the drop-down list. The data and the chart will be generated based on that selection.
Total Food Waste (in tons/week) | 12
No. of Grind2Energy | 2 |  | G2E | Off-Site | Waste (tons/week) processed by G2E | Total Volume (G2E) | Freshwater Added | no. of bins needed | Food Waste Off-site (in tons | 5.2635 | 3685
Freshwater added | 3127.4678 |  | 6 | 0 | 12 | 8401.2677 | 5401.2677 | 0 | 0 | 8.5435 | 5981.3529
Total Volume | 4864.5422 |  | 5 | 1 | 11.4719 | 8031.5321 | 5163.5606 | 5 | 0.52811 | 12 | 8401.2677
No. of Dining Halls for Off-site grinder | 4 |  | 4 | 2 | 10.0898 | 7063.9464 | 4541.4891 | 15 | 1.9102 | 8.5435 | 2135.8751
No of blue bins | 38 |  | 3 | 3 | 8.5435 | 5981.3529 | 3845.4778 | 26 | 3.4565 | 3.4565
Food waste Off site | 5.0517 |  | 2 | 4 | 6.9483 | 4864.5422 | 3127.4678 | 38 | 5.0517
|  |  | 1 | 5 | 5.2635 | 3685 | 2369.1272 | 50 | 6.7365
|  |  | 0 | 6 | 0 | 0 | 0 | 87 | 12
Optimized data
| Unit | installation
| Medium | Low | Medium | High
Grind2Energy systems cap cost | 119900 | 0 | 0 | 0 | Starting cost for one unit (cost) = $59,950. Includes installation and Collection tank.
Construction @ UCSD |  | 65000 | 85000 | 110000
Collection (Blue bin) | 3040 | 2736 | 3040 | 3344 | 32 gallon bins. $80 ea. 50 bins needed.
Total |  | 67736 | 88040 | 113344
Capital Cost Total
Total | 207940 | 187636 | 207940 | 233244 | Low = total unit cost, Medium = Total * 1.1 (10% more); High = Total * 1.2 (20% more)
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 17418.4227 | 15717.6261 | 17418.4227 | 19538.0523 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 200 | 180 | 200 | 220 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10%
WW charge | 0 | 0 | 0 | 0 | The slurry goes to the tank. Little to no water down the drain.
Freshwater charge | 418.3301 | 376.4971 | 418.3301 | 460.1631 | Their website says 1-2 gpm. Assuming 3 gpm. Error = ±10%
Hauling fee Grind2Energy | 4669.9605 | 3113.307 | 4669.9605 | 6226.614 | Based on hauling charge for tanker trucks from SWP. Data from UCSD. Assuming 3 gpm water inflow. Low: $20/kgal, Med: $30/kgal, High: $40/kgal
Hauling fee Off-site Grinder | 19200 | 14400 | 19200 | 28800 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee Grind2Energy | 14009.8815 | 6226.614 | 14009.8815 | 17123.1884 | Low: $0.04/gal; Med: $0.09/gal; High: $0.11/gal. 3gpm water added. 32 wks
Tipping Fee Off-site Grinder | 3480.4211 | 3132.379 | 3480.4211 | 3828.4632
Labor cost @ UofI (Student labor or Ac Hourly) | 13440 | 10752 | 13440 | 17920 | Low: $12/hour, Med: $15/hour, High: $20/hour. 1 hours a day, 32 weeks.
Labor cost @ UCSD | 4800 | 4320 | 4800 | 5280 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance | 5000 | 4500 | 5000 | 5500 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Annual Operating Cost | 65218.5931 | 47000.797 | 65218.5931 | 85358.4287
Total Annual Cost | 82637.0159 | 62718.4231 | 82637.0159 | 104896.481 | Annual Capital Cost + Annual Operating Cost
Note on B3: User: Pick from the Drop-down list to generate data in the Optimized Data sheet.

## Biogas to electricity - Input
Biogas to electricity |  |  |  |  | Data from WWTP - Co-generation of heat and electricity
[5 empty] | Year | Value of electricity | kWH | $/kWH | Value of Heat | Maintenance | Tipping fee to UCSD (in $/gallon) | 0.09
Theoretical |  |  |  |  | 2012 | 140595 | 2343257 | 0.06 | 26550 | -97191 | Tipping fee to UCSD (in $/ton) | 21.5311
Power production (in kWH) | 458 |  |  |  | 2013 | 158893 | 2648213 | 0.06 | 30266 | -80476
Biogas production (in cf/h) | 7808 |  |  |  | 2014 | 151567 | 2526117 | 0.06 | 28954 | -80476
1 cf/h = x kWH | 0.058658 | 1 cf (w/o loss)\ | 0.29 | kwh | Average | 150351.6667 | 2505862.3333 | 0.06 | 28590 | -91397
or 1 kWH = x cf/h | 17.048 | 1 cf (w 66% loss) | 0.099701 | kwh
[6 empty] | 1 gallon water | 3.79 L | 8.36 lbs
Actual data from WWTP | [5 empty] | Food waste 1 gallon | 85% water
Power production (in kWH) | 286
Biogas production (in cf/h) | 8300
1 cf/h = x kWH | 0.034458
or 1 kWH = x cf/h | 29.021
WWTP produces biogas (cf/day) | 200000
WWTP produces biogas (cf/h) | 8333.3333
Power difference (in kWH) | 172 | 1506720
Electricity cost of this power | 90400 | 0.059998
| Wet tons | Dry tons
Food waste (lbs/week) | 24000 | 3600 |  | Considering 1 ton of food waste has 85% water
Food waste (tons/week) | 12 | 1.8
Food waste (tons/day) | 1.7143 | 0.25714 | 0.23143 | 1500 | 347.1429 | 4665.5973
|  |  | ton BOD/day | kwh/ton BOD | kwh/day | annual aeration elec cost
Method 1 |  |  |  | (range 500 -5000) |  | Conversion factor
Methane Production potential for food waste (m3/ton) | 56.4 | 376 |  | Based on EPA data |  | 1 m3 | 35.314 ft3
Total methane production potential (m3/day) | 96.6857 | 96.6857 | Electricity generation (energy lost = 66%)
Total methane production potential (cf/day) | 3414.3593 | 3414.3593 | 340.4147 | kwh/day (w/ loss) | 1.162 | MMBTU/day
Total methane production potential (cf/h) | 142.265 | 142.265 | 0.34041 | MWh/day | 260.288 | MMBTU/year
Total methane production potential (kWH) | 4.9021 | 4.9021
Total methane production potential (kWH/yr) | 42942.7673 | 42942.7673
Additional electricity potential for WWTP | 1.714% | 1.714% |  | Heat Value | RECs | Maintenance
Additional Cost savings from electricity for WWTP ($/year) | 2576.5645 | 2576.5645 | 4575.1708 | 869.9879 | 186.377 | -2781.1922
For RNG Generation
|  |  | cf/day biogas | 3414.3593
|  |  | 1 cf biogas | 900 BTU GGE
|  |  | Biogas GGE per day (in BTU) | 3072923.3829
|  |  | Biogas GGE per year (in BTU) | 688334837.76
|  |  | Biogas GGE per year (in MMBTU) | 688.3348
|  |  | Methane % | 60%
|  |  | Biofuel GGE per year (in MMBTU) | 413.0009 | RNG
|  |  | 1 MMBtu | 11.7 | RINs
|  |  | RINs/year | 4832.1106
Note on C28: Prasad, Sarthak: Data from EPA

## Food waste
Data from Thurman |  |  |  | Assumptions
Total food waste (lbs/week) | 24000 |  |  | 1 meal | 1/3rd lbs food waste (pre and post) |  |  | Somat Pulper |  |  | Tri Cycle Pulper Unit
Ikenberry is the biggest dining hall and it contributes to almost 50% of the total food waste |  |  |  | 1 bucket | 30 lbs food waste |  |  | Food waste in (tons/wk) | 12 |  | Food waste in (tons/wk) | 12
Rest of the food waste (lbs/week) | 12000 |  |  | 1 cycle = 5 minutes | processes 2 buckets |  |  | Food waste out (tons/wk) | 3.3 |  | Food waste out (tons/wk) | 5.04
Remaining number of dining halls and the housing stores | 5 |  |  | 2 buckets | 60 lbs food waste |  |  | Outflow volume (in %) | 27.5% |  | Outflow volume (in %) | 42%
Average food waste (lbs/week) | 2400 |  |  | 60 lbs food waste | 200 meals
Maintenance cost per EnviroPure equipment (annually) | 2500 |  |  | Insinkerator Waste Xpress Pulper reduces volume by 18.5%
|  |  | number of meals served | Number of buckets processed every 5 minutes |  | gallons of water (per minute) | Water (in gallons) needed during grinding
Population at each Resident/Dining Hall |  |  | 72000 | 360 | 5 minutes | 5
Busey-Evans | 389 | 4.401% | 3168.6842 | 15.8434 | 79.2171 |  | 396.0855
Allen Hall + LAR | 1139 | 12.89% | 9277.9726 | 46.3899 | 231.9493 |  | 1159.7466
FAR | 1241 | 14.04% | 10108.8358 | 50.5442 | 252.7209 |  | 1263.6045
Ikenberry | 3877 | 43.86% | 31580.9481 | 157.9047 | 789.5237 |  | 3947.6185
ISR | 1175 | 13.29% | 9571.2185 | 47.8561 | 239.2805 |  | 1196.4023
PAR | 1018 | 11.52% | 8292.3408 | 41.4617 | 207.3085 |  | 1036.5426
Total Population | 8839 |  |  |  |  | Total water | 9000
Food waste based on population | lbs/week | tons/wk | tons/day | Dumpster capacity (tons) | frequency (days) | Dumpster | Waste in gallon (per week) | Waste after Insinkerator Pulper | Capacity of 1 bin | No. of bins needed | Waste after Somat Pulper | Capacity of 1 bin | No. of bins needed (per week) | Waste after Insinkerator Tri-Cycle Pulper Unit | Capacity of 1 bin | No. of bins needed (per week) | Waste after No Grinder/Pulper | Capacity of 1 bin | No. of bins needed (per week)
Busey-Evans | 1056.2281 | 0.52811 | 0.075445 | 0.52811 | 7 | 2.5 cy | 132.0285 | 79.2171 | 32 | 3 | 36.3078 | 32 | 2 | 55.452 | 32 | 2 | 132.0285 | 32 | 5
Allen Hall + LAR | 3092.6575 | 1.5463 | 0.2209 | 1.5463 | 7 | 6 cy | 386.5822 | 231.9493 | 32 | 8 | 106.3101 | 32 | 4 | 162.3645 | 32 | 6 | 386.5822 | 32 | 13
FAR | 3369.6119 | 1.6848 | 0.24069 | 1.6848 | 7 | 6 cy | 421.2015 | 252.7209 | 32 | 8 | 115.8304 | 32 | 4 | 176.9046 | 32 | 6 | 421.2015 | 32 | 14
Ikenberry | 10526.9827 | 5.2635 | 0.75193 | 5.2635 | 7 | 18 cy | 1315.8728 | 789.5237 | 32 | 25 | 361.865 | 32 | 12 | 552.6666 | 32 | 18 | 1315.8728 | 32 | 42
ISR | 3190.4062 | 1.5952 | 0.22789 | 1.5952 | 7 | 6 cy | 398.8008 | 239.2805 | 32 | 8 | 109.6702 | 32 | 4 | 167.4963 | 32 | 6 | 398.8008 | 32 | 13
PAR | 2764.1136 | 1.3821 | 0.19744 | 1.3821 | 7 | 6 cy | 345.5142 | 207.3085 | 32 | 7 | 95.0164 | 32 | 3 | 145.116 | 32 | 5 | 345.5142 | 32 | 11
[9 empty] | Total | 59 |  | Total | 29 |  | Total | 43 |  | Total | 98
[7 empty] | lbs per day | Waste after Insinkerator Pulper (per day) | Capacity of 1 bin (32 gal, 100 lbs) | No. of bins needed (per day) | Waste after Somat Pulper (per day) | Capacity of 1 bin (32 gal, 100 lbs) | No. of bins needed (per day) | Waste after Insinkerator Tri-Cycle Pulper Unit (per day) | Capacity of 1 bin (32 gal, 100 lbs) | No. of bins needed (per day) | Waste after No Grinder/Pulper (per day) | Capacity of 1 bin (32 gal, 100 lbs) | No. of bins needed (per day)
Busey-Evans | 1056.2281 | 0.52811 | 0.075445 |  |  |  | 150.8897 | 124.484 | 100 | 2 | 41.4947 | 100 | 1 | 63.3737 | 100 | 1 | 150.8897 | 100 | 2
Allen Hall + LAR | 3092.6575 | 1.5463 | 0.2209 |  |  |  | 441.8082 | 364.4918 | 100 | 4 | 121.4973 | 100 | 2 | 185.5595 | 100 | 2 | 441.8082 | 100 | 5
FAR | 3369.6119 | 1.6848 | 0.24069 |  |  |  | 481.3731 | 397.1328 | 100 | 4 | 132.3776 | 100 | 2 | 202.1767 | 100 | 3 | 481.3731 | 100 | 5
Ikenberry | 10526.9827 | 5.2635 | 0.75193 |  |  |  | 1503.8547 | 1240.6801 | 100 | 13 | 413.56 | 100 | 5 | 631.619 | 100 | 7 | 1503.8547 | 100 | 16
ISR | 3190.4062 | 1.5952 | 0.22789 |  |  |  | 455.7723 | 376.0122 | 100 | 4 | 125.3374 | 100 | 2 | 191.4244 | 100 | 2 | 455.7723 | 100 | 5
PAR | 2764.1136 | 1.3821 | 0.19744 |  |  |  | 394.8734 | 325.7705 | 100 | 4 | 108.5902 | 100 | 2 | 165.8468 | 100 | 2 | 394.8734 | 100 | 4
[9 empty] | Total | 31 |  | Total | 14 |  | Total | 17 |  | Total | 37
[9 empty] | Total for a week (hauled 3 times) | 73 |  | Total for a week (hauled 3 times) | 33 |  | Total for a week (hauled 3 times) | 40 |  | Total for a week (hauled 3 times) | 87
[10 empty] | 10 |  |  | 5 |  |  | 5 |  |  | 12
17
Note on H10: Prasad, Sarthak: this is equal to Number of buckets every 5 minutes times 5 (minutes) times 5 (gallon per minute)

## Alton report, Credit Sales
LCFS calculation for UofI Food Waste
| 1 therm | 0.0053 | MT CO2
| 1 therm | 0.1 | MMBtu CH4
| 4130.009 | 413.0009 | MMBtu CH4 | LCFS @ $100/MT CO2e
| 413 MMBtu | 21.889 | MT CO2 | 2188.9048
| Based on theoretical values |  |  | Based on data from Alton Report
| Alton Report Reverse Engineer |  |  | Alton Report
| 1MMBTU | 11.7 | RINs | RINs sales | 58% of total project revenue
| 800 | 9360 | RINs per day | LCFS sales | 12 % of the total project revenue
|  | 3416400 | RINs per yr | Total project revenue | 11706155
|  | 6832800 | $2/RIN | RINs sales | 6789569.9
| 1 Therm | 0.1 | MMBTU | LCFS sales | 1404738.6
| 8000 Therm | 800 | MMBTU
| 1 Therm | 0.0053 | MT CO2 | LCFS/RINS% | 20.69%
| 8000 Therm | 42.4 | MT CO2 per day
|  | 15476 | MT CO2 per year | RNG Gas Sales | 884585
|  | 1547600 | LCFS $100/MT CO2 eq
| LCFS/RINs% | 22.65% |  |  |  | total revenue | net profit | expenditure (O&M + Marketing fee) | expenditure (O&M only) | RINs + LCFS | marketing % | marketing fee | net credit sales
[6 empty] | 7595000 | 3824000 | -3771000 | -2932960 | 4190200 | -20% | -838040 | 3352160
For Food waste from 6 Dining Halls | [5 empty] | 11767000 | 7162000 | -4605000 | -2928920 | 8380400 | -20% | -1676080 | 6704320
| Biogas GGE per day (in BTU) | 3072923.3829 |  |  |  | 15149000 | 9867000 | -5282000 | -2938700 | 11716500 | -20% | -2343300 | 9373200
| Biogas GGE per year (in MMBTU) | 688.3348
| Biofuel GGE per year (in MMBTU) | 413.0009
| 1 MMBtu | 11.7 | RINs |  |  |  |  | MMBTU plant | O&M cost
| 413 MMBtu | 4832.1106 | RINs/year |  |  |  |  | 292000 | -2928920
|  | 9664.2211 | RINs/year @ $2/RIN |  |  |  |  | 413.0009 | -4142.6254
Electricity value | Heat Value | RECs | Maintenance (Electricity Generators)
4575.1708 | 869.9879 | 186.377 | -2781.1922 | 22.65%
| RNG sales value: based on Alton report |  |  | Alton Report: Reverse Engineer
| Biofuel MMBTU (per year) | 413.0009 |  | 800 | MMBTU per day
| 1 MMBTU Natural Gas | 7.74 GGE
| GGE | 3196.627
| Conversion efficiency | 99% |  | 292000 | MMBTU per year
| Natural Gas Price | 0.39 | per GGE (or $3/MMBTU) | 3 | Natural Gas price ($/MMBTU)
| RNG sales | 1234.2177 |  | 867240 | RNG Sales
|  |  |  | -991000 | Gas upgradation Equipment Cost
|  |  |  | -128830 | Annualized Gas upgradation Equipment (3% for 10 years)
| Gas upgradation Proportion | -182.2154 |  | -0.4412 | Gas upgradation Equipment/MMBTU
| Gas upgradation Proportion | -183.3452 |  | -0.14855 | Gas upgradation Equipment/RNG Sales

## Current - Aerobic (EnviroPure)
Data from Thurman | Average unit + installation cost for each EnviroPure system |  |  |  | 45000
EnviroPure Presentation: For all 6 locations with connection fee, and higher sewer charge | [5 empty] | EnviroPure Presentation: For all 6 locations with higher sewer charge but no connection fee
| Unit | installation |  |  |  |  | Unit | installation
|  | Low | Medium | High |  |  |  | Low | Medium | High
Ike | 50000 | 25000 | 37500 | 50000 | Earlier Assumptions; Not used in the Calculation | Ike | 50000 | 25000 | 37500 | 50000 | Earlier Assumptions; Not used in the Calculation
FAR | 20000 | 10000 | 15000 | 20000 |  | FAR | 20000 | 10000 | 15000 | 20000
LAR | 20000 | 10000 | 15000 | 20000 |  | LAR | 20000 | 10000 | 15000 | 20000
ISR | 20000 | 10000 | 15000 | 20000 |  | ISR | 20000 | 10000 | 15000 | 20000
PAR | 20000 | 10000 | 15000 | 20000 |  | PAR | 20000 | 10000 | 15000 | 20000
Housing Store | 20000 | 10000 | 15000 | 20000 |  | Housing Store | 20000 | 10000 | 15000 | 20000
Total | 150000 | 75000 | 112500 | 150000 |  | Total | 150000 | 75000 | 112500 | 150000
|  | Capital Cost Total | [5 empty] | Capital Cost Total
| Total | 225000 | 262500 | 300000 |  |  | Total | 225000 | 262500 | 300000
Unit + Installation cost | 270000 | 0 | 0 | 0 | 6 units. Average Unit + Installation cost = $45,000. Capacity 600lbs/24 hr-1500lbs/24 hr. Data from Thurman. Error = ±10% | Unit + Installation cost | 270000 | 0 | 0 | 0 | 6 units. Average Unit + Installation cost = $45,000. Capacity 600lbs/24 hr-1500lbs/24 hr. Data from Thurman.
Connection charge | 1000000 | 800000 | 1000000 | 1500000 | UCSD connection fee. Data from Colleen Ruhter. Low: $800k, Med: $1M, High: $1.5M | Connection charge | 0 | 0 | 0 | 0 | No connection fee
Total | 1270000 | 1070000 | 1270000 | 1770000 | Unit + Installation | Total | 270000 | 243000 | 270000 | 297000 | Unit + Installation. Error = ±10%
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White | Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 |  | Life of equipment (in years) | 15 | 15 | 15 | 15
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379 |  | Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 106383.5572 | 89630.2411 | 106383.5572 | 148266.8474 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor | Total Annual Capital Cost | 22616.9767 | 20355.2791 | 22616.9767 | 24878.6744 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost | [5 empty] | Operating Cost
Aerobic Digestion | 4665.5973 | 2332.7987 | 4665.5973 | 9331.1946 | Estimate based on average WWTP aerobic treatment. Low: -100% (highly optimized), Med: +0%, High: +100% (poorly optimized) | Aerobic Digestion | 4665.5973 | 2332.7987 | 4665.5973 | 9331.1946 | Estimate based on average WWTP aerobic treatment. Low: -100% (highly optimized), Med: +0%, High: +100% (poorly optimized)
Electricity charge | 807.1741 | 726.4567 | 807.1741 | 887.8916 | EnviroPure uses 0.32kwh/hr. 6 systems, 32 weeks, $0.0782/kwh. Error = ±10% | Electricity charge | 807.1741 | 726.4567 | 807.1741 | 887.8916 | EnviroPure uses 0.32kwh/hr. 6 systems, 32 weeks, $0.0782/kwh. Error = ±10%
WW charge | 7200 | 6480 | 7200 | 7920 | 6 systems. 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Higher Sanitary fee = $25/kgal. Error = ±10% | WW charge | 7200 | 6480 | 7200 | 7920 | 6 systems. 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Higher Sanitary fee = $25/kgal. Error = ±10%
Freshwater charge | 1203.84 | 1083.456 | 1203.84 | 1324.224 | 6 systems. 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Fresh water fee = $4.18/kgal. Error = ±10% | Freshwater charge | 1203.84 | 1083.456 | 1203.84 | 1324.224 | 6 systems. 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Fresh water fee = $4.18/kgal. Error = ±10%
Biomix | 25000 | 22500 | 25000 | 27500 | 20 barrels a year. 1 barrel = $1250. Error = ±10% | Biomix | 25000 | 22500 | 25000 | 27500 | 20 barrels a year. 1 barrel = $1250. Error = ±10%
Maintenance | 15000 | 13500 | 15000 | 16500 | Data from Thurman. Error = ±10% | Maintenance | 15000 | 13500 | 15000 | 16500 | Data from Thurman. Error = ±10%
Annual Operating Cost | 53876.6114 | 46622.7114 | 53876.6114 | 63463.3102 |  | Annual Operating Cost | 53876.6114 | 46622.7114 | 53876.6114 | 63463.3102
Total Annual Cost | 160260.1686 | 136252.9525 | 160260.1686 | 211730.1576 | Annual Capital Cost + Annual Operating Cost | Total Annual Cost | 76493.5882 | 66977.9904 | 76493.5882 | 88341.9846 | Annual Capital Cost + Annual Operating Cost
EnviroPure Presentation: ISR | [5 empty] | EnviroPure Presentation: ISR
| Unit | installation |  |  |  |  | Unit | installation
ISR | 20000 | 10000 | 15000 | 20000 | Earlier Assumptions; Not used in the Calculation | ISR | 20000 | 10000 | 15000 | 20000 | Earlier Assumptions; Not used in the Calculation
Total | 20000 | 10000 | 15000 | 20000 |  | Total | 20000 | 10000 | 15000 | 20000
|  | Capital Cost Total | [5 empty] | Capital Cost Total
| Total | 30000 | 35000 | 40000 |  |  | Total | 30000 | 35000 | 40000
Unit + Installation cost | 45000 | 0 | 0 | 0 | Average Unit + Installation cost = $45,000. Data from Thurman. Error = ±10% | Unit + Installation cost | 45000 | 0 | 0 | 0 | Average Unit + Installation cost = $45,000. Data from Thurman. Error = ±10%
Connection charge | 132933.5898 | 106346.8718 | 132933.5898 | 199400.3847 | UCSD connection fee. Data from Colleen. Based on population. | Connection charge | 0 | 0 | 0 | 0 | No connection fee
Total | 402933.5898 | 376346.8718 | 402933.5898 | 469400.3847 | Unit + Installation | Total | 45000 | 40500 | 45000 | 49500 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White | Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 |  | Life of equipment (in years) | 15 | 15 | 15 | 15
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379 |  | Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 33752.369 | 31525.2905 | 33752.369 | 39320.0651 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor | Total Annual Capital Cost | 3769.4961 | 3392.5465 | 3769.4961 | 4146.4457 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost | [5 empty] | Operating Cost
Aerobic Digestion | 622.0796 | 311.0398 | 622.0796 | 1244.1593 | Estimate based on average WWTP aerobic treatment. Low: -100% (highly optimized), Med: +0%, High: +100% (poorly optimized) | Aerobic Digestion | 622.0796 | 311.0398 | 622.0796 | 1244.1593 | Estimate based on average WWTP aerobic treatment. Low: -100% (highly optimized), Med: +0%, High: +100% (poorly optimized)
Electricity charge | 134.529 | 121.0761 | 134.529 | 147.9819 | EnviroPure uses 0.32kwh/hr. 6 systems, 32 weeks, $0.0782/kwh. Error = ±10% | Electricity charge | 134.529 | 121.0761 | 134.529 | 147.9819 | EnviroPure uses 0.32kwh/hr. 6 systems, 32 weeks, $0.0782/kwh. Error = ±10%
WW charge | 957.1218 | 861.4097 | 957.1218 | 1052.834 | 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Higher Sanitary fee = $25/kgal. Error = ±10% | WW charge | 957.1218 | 861.4097 | 957.1218 | 1052.834 | 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Higher Sanitary fee = $25/kgal. Error = ±10%
Freshwater charge | 160.0308 | 144.0277 | 160.0308 | 176.0338 | 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Fresh water fee = $4.18/kgal. Error = ±10% | Freshwater charge | 160.0308 | 144.0277 | 160.0308 | 176.0338 | 60 lbs bucket takes 5 minutes of grinding. 5 gpm freshwater supply. Based on meals served. Fresh water fee = $4.18/kgal. Error = ±10%
Biomix | 3323.2639 | 2990.9375 | 3323.2639 | 3655.5903 | Based on number of meals served. 1 barrel = $1250. Error = ±10% | Biomix | 3323.2639 | 2990.9375 | 3323.2639 | 3655.5903 | Based on number of meals served. 1 barrel = $1250. Error = ±10%
Maintenance | 2500 | 2250 | 2500 | 2750 | Data from Thurman. Error = ±10% | Maintenance | 2500 | 2250 | 2500 | 2750 | Data from Thurman. Error = ±10%
Annual Operating Cost | 7697.0252 | 6678.4908 | 7697.0252 | 9026.5994 |  | Annual Operating Cost | 7697.0252 | 6678.4908 | 7697.0252 | 9026.5994
Total Annual Cost | 41449.3941 | 38203.7813 | 41449.3941 | 48346.6645 | Annual Capital Cost + Annual Operating Cost | Total Annual Cost | 11466.5213 | 10071.0373 | 11466.5213 | 13173.0451 | Annual Capital Cost + Annual Operating Cost

## Proposed - Pulper (Insinkerator
Food waste for all dining halls
Food waste (in lbs/week) | 24000
Food waste (in tons/week) | 12
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 1.8
Fresh Water added (7.5 gpm; in gallons) | 13500
Fresh Water added (7.5 gpm; in tons) | 54
Volume reduction | 85%
Volume before dewatering (tons/week) | 66
Solid concentration before dewatering | 2.727%
Volume after dewatering (tons/week) | 9.9
Solid content after dewatering (in tons) | 1.8
Solid content after dewatering (in %) | 18.18%
Insinkerator Waste Xpress Presentation: for all dining halls
| Unit | Installation
|  | Low | Medium | High
6 units | 90000 | 45000 | 67500 | 90000
Collection (Close Dumpster) | 5840 | 0 | 0 | 0 | 32 gallon blue recycling bins. 59 in total. $80 ea
Construction at UCSD for Solid waste | 0 | 65000 | 85000 | 110000
Total | 95840 | 110000 | 152500 | 200000
Capital Cost Total
Total | 248340 | 205840 | 248340 | 295840 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 20802.5926 | 17242.5129 | 20802.5926 | 24781.5052 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 600 | 540 | 600 | 660 | Emerson Electric Company rep said <$100/year per equipment. Assuming error = ±10%
WW charge | 1447.2 | 1302.48 | 1447.2 | 1591.92 | 7.5 gpm, 32 wks. $3.35/kgal sanitary fee. Based on number of meals served. Error = ±10%
Freshwater charge | 1805.76 | 1625.184 | 1805.76 | 1986.336 | 7.5 gpm, 32 wks. $4.18/kgal freshwater fee. Based on number of meals served. Error = ±10%
Hauling fee | 19200 | 14400 | 19200 | 28800 | $50/hour for F&S drivers, half a day per week 3 trips per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 6820.704 | 6138.6336 | 6820.704 | 7502.7744 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost @ UCSD | 4800 | 4320 | 4800 | 5280 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance Fee | 15000 | 13500 | 15000 | 16500 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 4752 | 4276.8 | 4752 | 5227.2 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 49673.664 | 41826.2976 | 49673.664 | 62321.0304
Total Annual Cost | 70476.2566 | 59068.8105 | 70476.2566 | 87102.5356 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 4575.1708 | 4117.6537 | 4575.1708 | 5032.6878 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 186.377 | 167.7393 | 186.377 | 205.0147 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 869.9879 | 782.9891 | 869.9879 | 956.9867 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -2781.1922 | -2503.073 | -2781.1922 | -3059.3114
Annual Electricity and RECs Value | 2850.3435 | 2565.3092 | 2850.3435 | 3135.3779 | Net value
Option 2
Renewable credit sales
RINs | 9664.2211 | 3624.0829 | 9664.2211 | 13288.304 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 2188.9048 | 1094.4524 | 2188.9048 | 3283.3572 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renewable Credit Sales Value | 11853.1259 | 4718.5353 | 11853.1259 | 16571.6612
RNG Value | 1234.2177 | 1110.7959 | 1234.2177 | 1357.6394 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -182.2154 | -163.9939 | -182.2154 | -200.437 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -4142.6254 | -3728.3628 | -4142.6254 | -4556.8879 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -2370.6252 | -943.7071 | -2370.6252 | -3314.3322 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 6391.8776 | 993.2675 | 6391.8776 | 9857.6436 | Net Value
Food waste for ISR
Food waste (in lbs/week) | 3190.4062
Food waste (in tons/week) | 1.5952
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 0.23928
Fresh Water added (7.5 gpm; in gallons) | 1794.6035
Fresh Water added (7.5 gpm; in tons) | 7.1784
Volume reduction | 85%
Volume before dewatering (tons/week) | 8.7736
Solid concentration before dewatering | 2.727%
Volume after dewatering (tons/week) | 1.316
Solid content after dewatering (in tons) | 0.23928
Solid content after dewatering (in %) | 18.18%
Insinkerator Waste Xpress Presentation: ISR
| Unit | Installation
|  | Low | Medium | High
ISR | 15000 | 7500 | 11250 | 15000
Collection (Blue bin) | 800 | 0 | 0 | 0 | 32 gallon blue recycling bins. 8 in total. $80 ea
Construction at UCSD for Solid waste | 0 | 14622.6949 | 20272.3724 | 26586.718
Total | 15800 | 22122.6949 | 31522.3724 | 41586.718
Capital Cost Total
Total | 47322.3724 | 37922.6949 | 47322.3724 | 57386.718 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 3964.0333 | 3176.6545 | 3964.0333 | 4807.0891 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 100 | 90 | 100 | 110 | Emerson Electric Company rep said <$100/year. Assuming error = ±10%
WW charge | 192.96 | 173.664 | 192.96 | 212.256 | 7.5 gpm, 32 wks. $3.35/kgal sanitary fee. Based on number of meals served. Error = ±10%
Freshwater charge | 240.768 | 216.6912 | 240.768 | 264.8448 | 7.5 gpm, 32 wks. $4.18/kgal freshwater fee. Based on number of meals served. Error = ±10%
Hauling fee | 2560 | 1920 | 2560 | 3840 | $50/hour for F&S drivers, half a day per week 3 trips per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 909.4272 | 818.4845 | 909.4272 | 1000.3699 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost @ UCSD | 638.0812 | 574.2731 | 638.0812 | 701.8894 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 114.8546 | 103.3692 | 114.8546 | 126.3401 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 7141.2364 | 6043.1128 | 7141.2364 | 8879.3601
Total Annual Cost | 11105.2697 | 9219.7673 | 11105.2697 | 13686.4492 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 608.1939 | 547.3745 | 608.1939 | 669.0133 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 24.7758 | 22.2982 | 24.7758 | 27.2533 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 115.6506 | 104.0856 | 115.6506 | 127.2157 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -369.7139 | -332.7425 | -369.7139 | -406.6852
Annual Electricity and RECs Value | 378.9064 | 341.0158 | 378.9064 | 416.797 | Net value
Option 2
Renewable credit sales
RINs | 1288.5628 | 483.2111 | 1288.5628 | 1771.7739 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 291.854 | 145.927 | 291.854 | 437.781 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renwable Credit Sales Value | 1580.4168 | 629.138 | 1580.4168 | 2209.5548
RNG Value | 164.5624 | 148.1061 | 164.5624 | 181.0186 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -24.2954 | -21.8659 | -24.2954 | -26.7249 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -552.35 | -497.115 | -552.35 | -607.5851 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -316.0834 | -125.8276 | -316.0834 | -441.911 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 852.2503 | 132.4357 | 852.2503 | 1314.3525 | Net Value
Carbon Offsets | 0 | 0 | 0 | 0

## Proposed - Pulper (Somat)
Food waste for all dining halls
Food waste (in lbs/week) | 24000
Food waste (in tons/week) | 12
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 1.8
Fresh Water added (2 gpm; in gallons) | 3600
Fresh Water added (2 gpm; in tons) | 14.4
Volume reduction (= 8 to 1) | 0.125
Volume before dewatering (tons/week) | 26.4
Solid concentration before dewatering | 6.818%
Volume after dewatering (tons/week) | 3.3
Solid content after dewatering (in tons) | 1.8
Solid content after dewatering (in %) | 54.55%
Somat Pulper Presentation: for all dining halls
| Unit | installation
|  | Low | Medium | High
6 units | 300000 | 150000 | 225000 | 300000
Collection (Close Dumpster) | 2640 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 0 | 65000 | 85000 | 110000
Total | 302640 | 215000 | 310000 | 410000
Capital Cost Total
Total | 612640 | 517640 | 612640 | 712640 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Somat sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 51318.7579 | 43360.9327 | 51318.7579 | 59695.4159 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 600 | 540 | 600 | 660 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10%
WW charge | 385.92 | 347.328 | 385.92 | 424.512 | Water recycling. 2 gpm, 32 wks. $3.35/kgal sanitary fee. Error = ±10%
Freshwater charge | 481.536 | 433.3824 | 481.536 | 529.6896 | Water recycling. 2 gpm, 32 wks. $4.18/kgal freshwater fee. Error = ±10%
Hauling fee | 19200 | 14400 | 19200 | 28800 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 2273.568 | 2046.2112 | 2273.568 | 2500.9248 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost @ UCSD | 4800 | 4320 | 4800 | 5280 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance Fee | 15000 | 13500 | 15000 | 16500 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 1584 | 1425.6 | 1584 | 1742.4 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 42741.024 | 35586.9216 | 42741.024 | 54695.1264
Total Annual Cost | 94059.7819 | 78947.8543 | 94059.7819 | 114390.5423 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 4575.1708 | 4117.6537 | 4575.1708 | 5032.6878 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 186.377 | 167.7393 | 186.377 | 205.0147 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 869.9879 | 782.9891 | 869.9879 | 956.9867 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -2781.1922 | -2503.073 | -2781.1922 | -3059.3114
Total RECs Value | 2850.3435 | 2565.3092 | 2850.3435 | 3135.3779 | Net value
Option 2
Renewable credit sales
RINs | 9664.2211 | 3624.0829 | 9664.2211 | 13288.304 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 2188.9048 | 1094.4524 | 2188.9048 | 3283.3572 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renewable Credit Sales Value | 11853.1259 | 4718.5353 | 11853.1259 | 16571.6612
RNG Value | 1234.2177 | 1110.7959 | 1234.2177 | 1357.6394 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -182.2154 | -163.9939 | -182.2154 | -200.437 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -4142.6254 | -3728.3628 | -4142.6254 | -4556.8879 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -2370.6252 | -943.7071 | -2370.6252 | -3314.3322 | 20% of the Credit Sales. Error = ±10%
Net RIN value | 6391.8776 | 993.2675 | 6391.8776 | 9857.6436 | Net Value
Food waste for ISR
Food waste (in lbs/week) | 3190.4062
Food waste (in tons/week) | 1.5952
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 0.23928
Fresh Water added (2 gpm; in gallons) | 478.5609
Fresh Water added (2 gpm; in tons) | 1.9142
Volume reduction | 0.125
Volume before dewatering (tons/week) | 3.5094
Solid concentration before dewatering | 6.818%
Volume after dewatering (tons/week) | 0.43868
Solid content after dewatering (in tons) | 0.23928
Solid content after dewatering (in %) | 54.55%
Somat Pulper Presentation: ISR
| Unit | installation
|  | Low | Medium | High
ISR | 50000 | 25000 | 37500 | 50000
Collection (Blue bin) | 400 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 0 | 8640.6833 | 11299.3551 | 14622.6949
Total | 50400 | 33640.6833 | 48799.3551 | 64622.6949
Capital Cost Total
Total | 99199.3551 | 84040.6833 | 99199.3551 | 115022.6949 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Somat sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 8309.5908 | 7039.8007 | 8309.5908 | 9635.0578 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 100 | 90 | 100 | 110 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10%
WW charge | 51.456 | 46.3104 | 51.456 | 56.6016 | Water recycling. 2 gpm, 32 wks. $3.35/kgal sanitary fee. Error = ±10%
Freshwater charge | 64.2048 | 57.7843 | 64.2048 | 70.6253 | Water recycling. 2 gpm, 32 wks. $4.18/kgal freshwater fee. Error = ±10%
Hauling fee | 2560 | 1920 | 2560 | 3840 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 303.1424 | 272.8282 | 303.1424 | 333.4566 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost @ UCSD | 638.0812 | 574.2731 | 638.0812 | 701.8894 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 210.5668 | 189.5101 | 210.5668 | 231.6235 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 6216.8844 | 5211.196 | 6216.8844 | 7862.5729
Total Annual Cost | 14526.4752 | 12250.9967 | 14526.4752 | 17497.6307 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 608.1939 | 547.3745 | 608.1939 | 669.0133 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 24.7758 | 22.2982 | 24.7758 | 27.2533 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 115.6506 | 104.0856 | 115.6506 | 127.2157 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -369.7139 | -332.7425 | -369.7139 | -406.6852
Annual Electricity and RECs Value | 378.9064 | 341.0158 | 378.9064 | 416.797 | Net value
Option 2
Renewable credit sales
RINs | 1288.5628 | 483.2111 | 1288.5628 | 1771.7739 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 291.854 | 145.927 | 291.854 | 437.781 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renwable Credit Sales Value | 1580.4168 | 629.138 | 1580.4168 | 2209.5548
RNG Value | 164.5624 | 148.1061 | 164.5624 | 181.0186 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -24.2954 | -21.8659 | -24.2954 | -26.7249 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -550.6941 | -495.6247 | -550.6941 | -605.7635 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -316.0834 | -125.8276 | -316.0834 | -441.911 | 20% of the Credit Sales. Error = ±10%
Net value | 853.9063 | 133.926 | 853.9063 | 1316.1741 | Net Value

## Proposed - Tri-Cycle Pulper
Food waste for all dining halls | [5 empty] | Food waste for Ikenberry
Food waste (in lbs/week) | 24000 |  |  |  |  | Food waste (in lbs/week) | 10526.9827
Food waste (in tons/week) | 12 |  |  |  |  | Food waste (in tons/week) | 5.2635
Solid content | 15% |  |  |  |  | Solid content | 15%
Water Content | 85% |  |  |  |  | Water Content | 85%
Solid in Food Waste (in tons) | 1.8 |  |  |  |  | Solid in Food Waste (in tons) | 0.78952
Fresh Water added (3 gpm; in gallons) | 5400 |  |  |  |  | Fresh Water added (3 gpm; in gallons) | 2368.5711
Fresh Water added (3 gpm; in tons) | 21.6 |  |  |  |  | Fresh Water added (3 gpm; in tons) | 9.4743
Volume reduction | 85% |  |  |  |  | Volume reduction | 85%
Volume before dewatering (tons/week) | 33.6 |  |  |  |  | Volume before dewatering (tons/week) | 14.7378
Solid concentration before dewatering | 5.357% |  |  |  |  | Solid concentration before dewatering | 5.357%
Volume after dewatering (tons/week) | 5.04 | 1260 |  |  |  | Volume after dewatering (tons/week) | 2.2107
Solid content after dewatering (in tons) | 1.8 |  |  |  |  | Solid content after dewatering (in tons) | 0.78952
Solid content after dewatering (in %) | 35.71% |  |  |  |  | Solid content after dewatering (in %) | 35.71%
Tri-Cycle Pulper (Insinkerator) Presentation: for all dining halls | [5 empty] | Tri-Cycle Pulper (Insinkerator) Presentation: Ikenberry
| Unit | installation/total construction |  |  |  |  | Unit | installation
|  | Low | Medium | High |  |  |  | Low | Medium | High
6 units | 150000 | 75000 | 112500 | 150000 | One unit cost = $25,000. 6 units | Ikenberry | 25000 | 12500 | 18750 | 25000
Collection (Close Dumpster) | 3200 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea | Collection (Blue bin) | 1360 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 0 | 65000 | 85000 | 110000 |  | Construction at UCSD for Solid waste | 0 | 28510.5781 | 37283.0637 | 48248.6707
Total | 153200 | 140000 | 197500 | 260000 |  | Total | 26360 | 41010.5781 | 56033.0637 | 73248.6707
|  | Capital Cost Total | [5 empty] | Capital Cost Total
Total | 350700 | 293200 | 350700 | 413200 | Unit + Installation | Total | 82393.0637 | 67370.5781 | 82393.0637 | 99608.6707 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White | Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep. | Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379 |  | Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 29376.9398 | 24560.3614 | 29376.9398 | 34612.351 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor | Total Annual Capital Cost | 6901.7852 | 5643.403 | 6901.7852 | 8343.8777 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost | [5 empty] | Operating Cost
Electricity charge | 1050 | 780 | 1050 | 1110 | Data from Insinkerator Sales Rep. Low: 1.5 kWh, Med: 2.0 kWh, High: 2.1 kWh. Runs 5 hrs/day. 32 wks | Electricity charge | 175 | 130 | 175 | 185 | Data from Insinkerator Sales Rep. Low: 1.5 kWh, Med: 2.0 kWh, High: 2.1 kWh. Runs 5 hrs/day. 32 wks
WW charge | 578.88 | 520.992 | 578.88 | 636.768 | 3 gpm, 32 wks. $3.35/kgal sanitary fee. Error = ±10% | WW charge | 111.3715 | 100.2343 | 111.3715 | 122.5086 | 3 gpm, 32 wks. $3.35/kgal sanitary fee. Error = ±10%
Freshwater charge | 722.304 | 650.0736 | 722.304 | 794.5344 | 3 gpm, 32 wks. $4.18/kgal freshwater fee. Error = ±10% | Freshwater charge | 138.965 | 125.0685 | 138.965 | 152.8615 | 3 gpm, 32 wks. $4.18/kgal freshwater fee. Error = ±10%
Hauling fee | 19200 | 14400 | 19200 | 28800 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs | Hauling fee | 8421.5862 | 6316.1896 | 8421.5862 | 12632.3792 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 3472.3584 | 3125.1226 | 3472.3584 | 3819.5942 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10% | Tipping fee | 1523.0607 | 1370.7546 | 1523.0607 | 1675.3668 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost @ UCSD | 4800 | 4320 | 4800 | 5280 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10% | Labor cost | 2105.3965 | 1894.8569 | 2105.3965 | 2315.9362 | $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance Fee | 15000 | 13500 | 15000 | 16500 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10% | Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 2419.2 | 2177.28 | 2419.2 | 2661.12 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10% | Alternative Hauling fee | 1061.1199 | 955.0079 | 1061.1199 | 1167.2318 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 44823.5424 | 37296.1882 | 44823.5424 | 56940.8966 |  | Annual Operating Cost | 14975.3798 | 12187.1039 | 14975.3798 | 19834.0523
Total Annual Cost | 74200.4822 | 61856.5496 | 74200.4822 | 91553.2477 | Annual Capital Cost + Annual Operating Cost | Total Annual Cost | 21877.165 | 17830.5069 | 21877.165 | 28177.93 | Annual Capital Cost + Annual Operating Cost
Value | [5 empty] | Value
Option 1 | [5 empty] | Option 1
Electricity Value | 4575.1708 | 4117.6537 | 4575.1708 | 5032.6878 | Based on information provided by UCSD. Error = ±10% | Electricity Value | 2006.781 | 1806.1029 | 2006.781 | 2207.4591 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 186.377 | 167.7393 | 186.377 | 205.0147 | Assuming $1.5/MWh electricity generated. Error = ±10% | RECs ($1.5/MWh) | 81.7495 | 73.5745 | 81.7495 | 89.9244 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 869.9879 | 782.9891 | 869.9879 | 956.9867 | Based on information provided by UCSD. Error = ±10% | Heating Value | 381.5978 | 343.438 | 381.5978 | 419.7576 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -2781.1922 | -2503.073 | -2781.1922 | -3059.3114 |  | Maintenance (Electricity gen) | -1219.8984 | -1097.9086 | -1219.8984 | -1341.8883
Annual Electricity and RECs Value | 2850.3435 | 2565.3092 | 2850.3435 | 3135.3779 | Net value | Annual Electricity and RECs Value | 1250.2299 | 1125.2069 | 1250.2299 | 1375.2529 | Net value
Option 2 | [5 empty] | Option 2
Renewable credit sales | [5 empty] | Renewable credit sales
RINs | 9664.2211 | 3624.0829 | 9664.2211 | 13288.304 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN | RINs | 4238.962 | 1589.6108 | 4238.962 | 5828.5728 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 2188.9048 | 1094.4524 | 2188.9048 | 3283.3572 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e | LCFS | 960.1068 | 145.927 | 960.1068 | 437.781 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renewable Credit Sales Value | 11853.1259 | 4718.5353 | 11853.1259 | 16571.6612 |  | Total Renwable Credit Sales Value | 5199.0688 | 1735.5377 | 5199.0688 | 6266.3537
RNG Value | 1234.2177 | 1110.7959 | 1234.2177 | 1357.6394 | RNG = $3/MMBTU. Error = ±10% | RNG Value | 541.3578 | 487.2221 | 541.3578 | 595.4936 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -182.2154 | -163.9939 | -182.2154 | -200.437 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years | Upgradation cost | -79.9241 | -71.9317 | -79.9241 | -87.9165 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -4142.6254 | -3728.3628 | -4142.6254 | -4556.8879 | Based on Alton (EcoEngineer) Report. Error = ±10% | O&M cost | -1817.0561 | -1635.3505 | -1817.0561 | -1998.7617 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -2370.6252 | -943.7071 | -2370.6252 | -3314.3322 | 20% of the Credit Sales. Error = ±10% | RNG Marketing cost | -1039.8138 | -347.1075 | -1039.8138 | -1253.2707 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 6391.8776 | 993.2675 | 6391.8776 | 9857.6436 | Net Value | Net RNG and Credit sales value | 2803.6327 | 168.3701 | 2803.6327 | 3521.8984 | Net Value
Food waste for Busey Evans
Food waste (in lbs/week) | 3190.4062 |  | 13087.3436
Food waste (in tons/week) | 1.5952 |  | 3271.8359
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 0.23928
Fresh Water added (3 gpm; in gallons) | 717.8414
Fresh Water added (3 gpm; in tons) | 2.8714
Volume reduction | 85%
Volume before dewatering (tons/week) | 4.4666
Solid concentration before dewatering | 5.357%
Volume after dewatering (tons/week) | 0.66999
Solid content after dewatering (in tons) | 0.23928
Solid content after dewatering (in %) | 35.71%
Tri-Cycle Pulper (Insinkerator) Presentation: ISR
| Unit | installation
|  | Low | Medium | High
ISR | 25000 | 12500 | 18750 | 25000
Collection (Blue bin) | 400 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 0 | 8640.6833 | 11299.3551 | 14622.6949
Total | 25400 | 21140.6833 | 30049.3551 | 39622.6949
Capital Cost Total
Total | 55449.3551 | 46540.6833 | 55449.3551 | 65022.6949 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 4644.8029 | 3898.5539 | 4644.8029 | 5446.7288 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 175 | 130 | 175 | 185 | Data from Insinkerator Sales Rep. Low: 1.5 kWh, Med: 2.0 kWh, High: 2.1 kWh. Runs 5 hrs/day. 32 wks
WW charge | 76.9526 | 69.2573 | 76.9526 | 84.6479 | 3 gpm, 32 wks. $3.35/kgal sanitary fee. Error = ±10%
Freshwater charge | 96.0185 | 86.4166 | 96.0185 | 105.6203 | 3 gpm, 32 wks. $4.18/kgal freshwater fee. Error = ±10%
Hauling fee | 2560 | 1920 | 2560 | 3840 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 461.5931 | 415.4338 | 461.5931 | 507.7524 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost | 638.0812 | 574.2731 | 638.0812 | 701.8894 | $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 321.5929 | 289.4336 | 321.5929 | 353.7522 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 6507.6454 | 5445.3808 | 6507.6454 | 8174.9099
Total Annual Cost | 11152.4482 | 9343.9347 | 11152.4482 | 13621.6387 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 608.1939 | 547.3745 | 608.1939 | 669.0133 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 24.7758 | 22.2982 | 24.7758 | 27.2533 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 115.6506 | 104.0856 | 115.6506 | 127.2157 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -369.7139 | -332.7425 | -369.7139 | -406.6852
Annual Electricity and RECs Value | 378.9064 | 341.0158 | 378.9064 | 416.797 | Net value
Option 2
Renewable credit sales
RINs | 1288.5628 | 483.2111 | 1288.5628 | 1771.7739 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 291.854 | 145.927 | 291.854 | 437.781 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renwable Credit Sales Value | 1580.4168 | 629.138 | 1580.4168 | 2209.5548
RNG Value | 164.5624 | 148.1061 | 164.5624 | 181.0186 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -24.2954 | -21.8659 | -24.2954 | -26.7249 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -550.6941 | -495.6247 | -550.6941 | -605.7635 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -316.0834 | -125.8276 | -316.0834 | -441.911 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 853.9063 | 133.926 | 853.9063 | 1316.1741 | Net Value
Carbon Offsets | 0 | 0 | 0 | 0

## Proposed - Grind2Energy
Food waste for all dining halls |  | (3gpm option) |  |  |  | Food waste for Ikenberry |  | (3gpm option)
Food waste (in lbs/week) | 24000 | 24000 |  |  |  | Food waste (in lbs/week) | 10526.9827 | 10526.9827
Food waste (in tons/week) | 12 | 12 |  |  |  | Food waste (in tons/week) | 5.2635 | 5.2635
Solid content | 15% | 15% |  |  |  | Solid content | 15% | 0.15
Water Content | 85% | 85% |  |  |  | Water Content | 85% | 0.85
Food waste in gallons | 3000 | 3000 |  |  |  | Solid in Food Waste (in tons) | 0.78952 | 1315.8728
Fresh Water added (2 gpm; in gallons) | 3600 | 5400 |  |  |  | Fresh Water added (2 gpm; in gallons) | 1579.0474 | 2368.5711
Fresh Water added (2 gpm; in tons) | 14.4 | 21.6 |  |  |  | Fresh Water added (2 gpm; in tons) | 6.3162 | 9.4743
Volume (tons/week) | 26.4 | 33.6 |  |  |  | Volume (tons/week) | 11.5797 | 14.7378
Volume (gallons/week) | 6600 | 8400 |  |  |  | Volume (gallons/week) | 2894.9202 | 3684.4439
Solid concentration | 6.818% | 5.357% |  |  |  | Solid concentration | 6.818%
Grind2Energy (Insinkerator) Presentation: for all dining halls | [5 empty] | Grind2Energy (Insinkerator) Presentation: Ikenberry
| Unit | installation |  |  |  |  | Unit | installation
|  | Low | Medium | High |  |  |  | Low | Medium | High
6 units | 359700 | 0 | 0 | 0 | Starting cost for one unit (cost) = $59,950. Includes installation. 6 units. | ISR | 59950 | 0 | 0 | 0 | Starting cost for one unit (cost) = $59,950. Includes installation.
Collection (Close Dumpster) | 0 | 0 | 0 | 0 | Tanks included in unit cost. Prices may vary based on the size of tank. Options: 3000, 3600, 4200, 5000 gallons | Collection (Blue bin) | 0 | 0 | 0 | 0 | Tanks included in unit cost. Prices may vary based on the size of tank. Options: 3000, 3600, 4200, 5000 gallons
Total | 359700 | 0 | 0 | 0 |  | Total | 59950 | 0 | 0 | 0
|  | Capital Cost Total | [5 empty] | Capital Cost Total
Total | 395670 | 359700 | 395670 | 431640 | Low = total unit cost, Medium = Total * 1.1 (10% more); High = Total * 1.2 (20% more) | Total | 65945 | 59950 | 65945 | 71940 | Low = total unit cost, Medium = Total * 1.1 (10% more); High = Total * 1.2 (20% more)
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White | Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep. |  | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379 |  | Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 33143.9229 | 30130.839 | 33143.9229 | 36157.0068 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor | Total Annual Capital Cost | 5523.9871 | 5021.8065 | 5523.9871 | 6026.1678 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost | [5 empty] | Operating Cost
Electricity charge | 600 | 540 | 600 | 660 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10% | Electricity charge | 100 | 90 | 100 | 110 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10%
WW charge | 0 | 0 | 0 | 0 | The slurry goes to the tank. Little to no water down the drain. | WW charge | 0 | 0 | 0 | 0 | The slurry goes to the tank. Little to no water down the drain.
Freshwater charge | 481.536 | 240.768 | 481.536 | 722.304 | Their website says 1-2 gpm. Low = 1 gpm, Med = 2 gpm, High = 3 gpm | Freshwater charge | 211.2134 | 105.6067 | 211.2134 | 316.8201 | Their website says 1-2 gpm. Low = 1 gpm, Med = 2 gpm, High = 3 gpm
Hauling fee | 8064 | 5376 | 8064 | 10752 | Based on hauling charge for tanker trucks from SWP. Data from UCSD. Assuming 3 gpm water inflow. Low: $20/kgal, Med: $30/kgal, High: $40/kgal | Hauling fee | 3537.0662 | 2358.0441 | 3537.0662 | 4716.0882 | Based on hauling charge for tanker trucks from SWP. Data from UCSD. Assuming 3 gpm water inflow. Low: $20/kgal, Med: $30/kgal, High: $40/kgal
Tipping fee | 24192 | 10752 | 24192 | 29568 | Low: $0.04/gal; Med: $0.09/gal; High: $0.11/gal. 3gpm water added. 32 wks | Tipping fee | 10611.1986 | 4716.0882 | 10611.1986 | 12969.2427 | Low: $0.04/gal; Med: $0.09/gal; High: $0.11/gal. 3gpm water added. 32 wks
Maintenance Fee | 15000 | 13500 | 15000 | 16500 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10% | Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
IOT fee | 9288 | 9288 | 9288 | 9288 | Optional: Internet of Things (IoT) monthly charge $129. Not recommended | IOT fee | 1548 | 1548 | 1548 | 1548 | Optional: Internet of Things (IoT) monthly charge $129. Not recommended.
Annual Operating Cost | 48337.536 | 30408.768 | 48337.536 | 58202.304 |  | Annual Operating Cost | 16959.4781 | 9519.7391 | 16959.4781 | 20862.151
Total Annual Cost | 81481.4589 | 60539.607 | 81481.4589 | 94359.3108 | Annual Capital Cost + Annual Operating Cost | Total Annual Cost | 22483.4653 | 14541.5456 | 22483.4653 | 26888.3188 | Annual Capital Cost + Annual Operating Cost
Value | [5 empty] | Value
Option 1 | [5 empty] | Option 1
Electricity Value | 4575.1708 | 4117.6537 | 4575.1708 | 5032.6878 | Based on information provided by UCSD. Error = ±10% | Electricity Value | 2006.781 | 1806.1029 | 2006.781 | 2207.4591 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 186.377 | 167.7393 | 186.377 | 205.0147 | Assuming $1.5/MWh electricity generated. Error = ±10% | RECs ($1.5/MWh) | 81.7495 | 73.5745 | 81.7495 | 89.9244 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 869.9879 | 782.9891 | 869.9879 | 956.9867 | Based on information provided by UCSD. Error = ±10% | Heating Value | 381.5978 | 343.438 | 381.5978 | 419.7576 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -2781.1922 | -2503.073 | -2781.1922 | -3059.3114 |  | Maintenance (Electricity gen) | -1219.8984 | -1097.9086 | -1219.8984 | -1341.8883
Annual Electricity and RECs Value | 2850.3435 | 2565.3092 | 2850.3435 | 3135.3779 | Net value | Annual Electricity and RECs Value | 1250.2299 | 1125.2069 | 1250.2299 | 1375.2529 | Net value
Option 2 | [5 empty] | Option 2
Renewable credit sales | [5 empty] | Renewable credit sales
RINs | 9664.2211 | 3624.0829 | 9664.2211 | 13288.304 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN | RINs | 4238.962 | 1589.6108 | 4238.962 | 5828.5728 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 2188.9048 | 1094.4524 | 2188.9048 | 3283.3572 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e | LCFS | 960.1068 | 480.0534 | 960.1068 | 1440.1602 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renewable Credit Sales Value | 11853.1259 | 4718.5353 | 11853.1259 | 16571.6612 |  | Total Renwable Credit Sales Value | 5199.0688 | 2069.6641 | 5199.0688 | 7268.733
RNG Value | 1234.2177 | 1110.7959 | 1234.2177 | 1357.6394 | RNG = $3/MMBTU. Error = ±10% | RNG Value | 541.3578 | 487.2221 | 541.3578 | 595.4936 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -182.2154 | -163.9939 | -182.2154 | -200.437 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years | Upgradation cost | -71.9317 | -64.7385 | -71.9317 | -79.1249 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -4142.6254 | -3728.3628 | -4142.6254 | -4556.8879 | Based on Alton (EcoEngineer) Report. Error = ±10% | O&M cost | -1817.0561 | -1635.3505 | -1817.0561 | -1998.7617 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -2370.6252 | -943.7071 | -2370.6252 | -3314.3322 | 20% of the Credit Sales. Error = ±10% | RNG Marketing cost | -1039.8138 | -413.9328 | -1039.8138 | -1453.7466 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 6391.8776 | 993.2675 | 6391.8776 | 9857.6436 | Net Value | Net RNG and Credit sales value | 2811.6251 | 442.8644 | 2811.6251 | 4332.5934 | Net Value
[6 empty] | Carbon Offsets | 0 | 0 | 0 | 0
Food waste for ISR |  | (3gpm option)
Food waste (in lbs/week) | 3190.4062 | 3190.4062
Food waste (in tons/week) | 1.5952 | 1.5952
Solid content | 15% | 0.15
Water Content | 85% | 0.85
Solid in Food Waste (in tons) | 0.23928 | 398.8008
Fresh Water added (2 gpm; in gallons) | 478.5609 | 717.8414
Fresh Water added (2 gpm; in tons) | 1.9142 | 2.8714
Volume before dewatering (tons/week) | 3.5094 | 4.4666
Volume (gallons/week) | 877.3617 | 1116.6422
Solid concentration before dewatering | 6.818%
Grind2Energy (Insinkerator) Presentation: ISR
| Unit | installation
|  | Low | Medium | High
ISR | 59950 | 0 | 0 | 0 | Starting cost for one unit (cost) = $59,950. Includes installation.
Collection (Blue bin) | 0 | 0 | 0 | 0 | Tanks included in unit cost. Prices may vary based on the size of tank. Options: 3000, 3600, 4200, 5000 gallons
Total | 59950 | 0 | 0 | 0
Capital Cost Total
Total | 65945 | 59950 | 65945 | 71940 | Low = total unit cost, Medium = Total * 1.1 (10% more); High = Total * 1.2 (20% more)
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 5523.9871 | 5021.8065 | 5523.9871 | 6026.1678 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 100 | 90 | 100 | 110 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10%
WW charge | 0 | 0 | 0 | 0 | The slurry goes to the tank. Little to no water down the drain.
Freshwater charge | 64.0123 | 32.0062 | 64.0123 | 96.0185 | Their website says 1-2 gpm. Low = 1 gpm, Med = 2 gpm, High = 3 gpm
Hauling fee | 1071.9765 | 714.651 | 1071.9765 | 1429.302 | Based on hauling charge for tanker trucks from SWP. Data from UCSD. Assuming 3 gpm water inflow. Low: $20/kgal, Med: $30/kgal, High: $40/kgal
Tipping fee | 3215.9294 | 1429.302 | 3215.9294 | 3930.5804 | Low: $0.04/gal; Med: $0.09/gal; High: $0.11/gal. 3gpm water added. 32 wks
Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
IOT fee | 1548 | 1548 | 1548 | 1548 | Optional: Internet of Things (IoT) monthly charge $129. Not recommended
Annual Operating Cost | 6951.9182 | 4515.9591 | 6951.9182 | 8315.9008
Total Annual Cost | 12475.9053 | 9537.7656 | 12475.9053 | 14342.0686 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 608.1939 | 547.3745 | 608.1939 | 669.0133 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 24.7758 | 22.2982 | 24.7758 | 27.2533 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 115.6506 | 104.0856 | 115.6506 | 127.2157 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -369.7139 | -332.7425 | -369.7139 | -406.6852
Annual Electricity and RECs Value | 378.9064 | 341.0158 | 378.9064 | 416.797 | Net value
Option 2
Renewable credit sales
RINs | 1288.5628 | 483.2111 | 1288.5628 | 1771.7739 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 291.854 | 145.927 | 291.854 | 437.781 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renwable Credit Sales Value | 1580.4168 | 629.138 | 1580.4168 | 2209.5548
RNG Value | 164.5624 | 148.1061 | 164.5624 | 181.0186 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -24.2226 | -21.8003 | -24.2226 | -26.6448 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -550.6941 | -495.6247 | -550.6941 | -605.7635 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -316.0834 | -125.8276 | -316.0834 | -441.911 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 853.9792 | 133.9916 | 853.9792 | 1316.2542 | Net Value
Carbon Offsets | 0 | 0 | 0 | 0

## Proposed - Offsite Grinding
Food waste for all dining halls
Food waste (in lbs/week) | 24000
Food waste (in tons/week) | 12
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 1.8
Fresh Water added (3 gpm; in gallons) | 0
Fresh Water added (3 gpm; in tons) | 0
Volume reduction | 0%
Volume before dewatering (tons/week) | 12
Solid concentration before dewatering | 15%
Volume after dewatering (tons/week) | 12
Solid content after dewatering (in tons) | 1.8
Solid content after dewatering (in %) | 15%
Number of bins needed | 87
Off site Grinder Presentation: for all dining halls
| Unit | installation/total construction
|  | Low | Medium | High
No Pulper/Grinder | 0 | 0 | 0 | 0
Collection (Close Dumpster) | 6960 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 0 | 65000 | 85000 | 110000
Total | 6960 | 65000 | 85000 | 110000
Capital Cost Total
Total | 91960 | 71960 | 91960 | 116960 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 7703.1747 | 6027.8431 | 7703.1747 | 9797.3393 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 0 | 0 | 0 | 0
WW charge | 0 | 0 | 0 | 0
Freshwater charge | 0 | 0 | 0 | 0
Labor cost @ UofI (Student labor or Ac Hourly) | 23520 | 18816 | 23520 | 31360 | Low: $12/hour, Med: $15/hour, High: $20/hour. If number of bins/dining hall =6 or less/day, 1 hour per day. Otherwise 2 hrs/day., 32 weeks.
Hauling fee | 38400 | 28800 | 38400 | 57600 | Assuming 1 trailor truck can carry 50 bins at a time. $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 8267.52 | 7440.768 | 8267.52 | 9094.272 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost @ UCSD | 4800 | 4320 | 4800 | 5280 | To decant the bins. $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance Fee | 0 | 0 | 0 | 0
Alternative Hauling fee | 5760 | 5184 | 5760 | 6336 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 74987.52 | 59376.768 | 74987.52 | 103334.272
Total Annual Cost | 82690.6947 | 65404.6111 | 82690.6947 | 113131.6113 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 4575.1708 | 4117.6537 | 4575.1708 | 5032.6878 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 186.377 | 167.7393 | 186.377 | 205.0147 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 869.9879 | 782.9891 | 869.9879 | 956.9867 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -2781.1922 | -2503.073 | -2781.1922 | -3059.3114
Annual Electricity and RECs Value | 2850.3435 | 2565.3092 | 2850.3435 | 3135.3779 | Net value
Option 2
Renewable credit sales
RINs | 9664.2211 | 3624.0829 | 9664.2211 | 13288.304 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 2188.9048 | 1094.4524 | 2188.9048 | 3283.3572 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renewable Credit Sales Value | 11853.1259 | 4718.5353 | 11853.1259 | 16571.6612
RNG Value | 1234.2177 | 1110.7959 | 1234.2177 | 1357.6394 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -182.2154 | -163.9939 | -182.2154 | -200.437 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -4142.6254 | -3728.3628 | -4142.6254 | -4556.8879 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -2370.6252 | -943.7071 | -2370.6252 | -3314.3322 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 6391.8776 | 993.2675 | 6391.8776 | 9857.6436 | Net Value
Food waste for ISR
Food waste (in lbs/week) | 3190.4062
Food waste (in tons/week) | 1.5952
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 0.23928
Fresh Water added (3 gpm; in gallons) | 0
Fresh Water added (3 gpm; in tons) | 0
Volume reduction | 0%
Volume before dewatering (tons/week) | 1.5952
Solid concentration before dewatering | 15%
Volume after dewatering (tons/week) | 1.5952
Solid content after dewatering (in tons) | 0.23928
Solid content after dewatering (in %) | 15%
Number of bins needed | 12
Off siteGrinder Presentation: for ISR
| Unit | installation
|  | Low | Medium | High
ISR | 0 | 0 | 0 | 0
Collection (Blue bin) | 960 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 0 | 8640.6833 | 11299.3551 | 14622.6949
Total | 960 | 8640.6833 | 11299.3551 | 14622.6949
Capital Cost Total
Total | 12259.3551 | 9600.6833 | 12259.3551 | 15582.6949 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 1026.9243 | 804.2164 | 1026.9243 | 1305.3091 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 0 | 0 | 0 | 0
WW charge | 0 | 0 | 0 | 0
Freshwater charge | 0 | 0 | 0 | 0
Labor cost @ UofI (Student labor or Ac Hourly) | 3360 | 2688 | 3360 | 4480 | Low: $12/hour, Med: $15/hour, High: $20/hour. 2 hours a day, 32 weeks.
Hauling fee | 2560 | 1920 | 2560 | 3840 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 1099.0311 | 989.128 | 1099.0311 | 1208.9342 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost | 638.0812 | 574.2731 | 638.0812 | 701.8894 | $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance | 0 | 0 | 0 | 0
Alternative Hauling fee | 765.6975 | 689.1277 | 765.6975 | 842.2672 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 7657.1123 | 6171.4011 | 7657.1123 | 10230.8236
Total Annual Cost | 8684.0366 | 6975.6175 | 8684.0366 | 11536.1326 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 608.1939 | 547.3745 | 608.1939 | 669.0133 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 24.7758 | 22.2982 | 24.7758 | 27.2533 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 115.6506 | 104.0856 | 115.6506 | 127.2157 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -369.7139 | -332.7425 | -369.7139 | -406.6852
Annual Electricity and RECs Value | 378.9064 | 341.0158 | 378.9064 | 416.797 | Net value
Option 2
Renewable credit sales
RINs | 1288.5628 | 483.2111 | 1288.5628 | 1771.7739 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 291.854 | 145.927 | 291.854 | 437.781 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renwable Credit Sales Value | 1580.4168 | 629.138 | 1580.4168 | 2209.5548
RNG Value | 164.5624 | 148.1061 | 164.5624 | 181.0186 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -24.2954 | -21.8659 | -24.2954 | -26.7249 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -2370.6252 | -2133.5627 | -2370.6252 | -2607.6877 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -316.0834 | -125.8276 | -316.0834 | -441.911 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | -966.0248 | -1504.012 | -966.0248 | -685.7502 | Net Value
Carbon Offsets | 0 | 0 | 0 | 0

## Comparison Calculator (Busey Ev
Food waste Calculator (Busey Evans) |  | (3gpm option) |  |  |  | Food waste Calculator (Busey Evans)
Food waste Total (lbs/week) | 24000 | 24000 |  |  |  | Food waste Total (lbs/week) | 24000
Water added (in Gallons at 5gpm) | 9000 | 9000 |  |  |  | Water added (in Gallons at 5gpm) | 9000
Food waste (in lbs/week) | 1056.2281 | 1056.2281 |  |  |  | Food waste (in lbs/week) | 1056.2281
Food waste (in tons/week) | 0.52811 | 0.52811 |  |  |  | Food waste (in tons/week) | 0.52811
Solid content | 15% | 0.15 |  |  |  | Solid content | 15%
Water Content | 85% | 0.85 |  |  |  | Water Content | 85%
Solid in Food Waste (in tons) | 0.079217 | 132.0285 |  |  |  | Solid in Food Waste (in tons) | 0.079217
Fresh Water added (2 gpm; in gallons) | 158.4342 | 237.6513 |  |  |  | Food waste (in lbs/day) | 150.8897
Fresh Water added (2 gpm; in tons) | 0.63374 | 0.95061 |  |  |  | (Assumption) Capacity of a 32 gallon bin (in lbs) | 100
[6 empty] | No. of bins needed (per day) | 2
Volume before dewatering (tons/week) | 1.1619 | 1.4787 |  |  |  | No. of bins needed (per week; hauling 3 times a week) | 5
Volume (gallons/week) | 290.4627 | 369.6798
Solid concentration before dewatering | 6.818% | 5.357%
Grind2Energy (Insinkerator) Presentation: Busey Evans | [5 empty] | No Pulper/Grinder Presentation: for Busey Evans
| Unit | installation |  |  |  |  | Unit | installation
|  | Low | Medium | High |  |  |  | Low | Medium | High
Busey Evans | 59950 | 0 | 0 | 0 | Starting cost for one unit (cost) = $59,950. Includes installation. | Busey Evans | 0 | 0 | 0 | 0
Collection (Blue bin) | 0 | 0 | 0 | 0 | Tanks included in unit cost. Prices may vary based on the size of tank. Options: 3000, 3600, 4200, 5000 gallons | Collection (Blue bin) | 400 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
[6 empty] | Construction at UCSD for Solid waste | 0 | 2860.6177 | 3740.8078 | 4841.0454
Total | 59950 | 0 | 0 | 0 |  | Total | 400 | 0 | 0 | 0
|  | Capital Cost Total | [5 empty] | Capital Cost Total
Total | 65945 | 59950 | 65945 | 71940 | Low = total unit cost, Medium = Total * 1.1 (10% more); High = Total * 1.2 (20% more) | Total | 4140.8078 | 3260.6177 | 4140.8078 | 5241.0454 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White | Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep. | Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379 |  | Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 5523.9871 | 5021.8065 | 5523.9871 | 6026.1678 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor | Total Annual Capital Cost | 346.8613 | 273.1308 | 346.8613 | 439.0244 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost | [5 empty] | Operating Cost
Electricity charge | 100 | 90 | 100 | 110 | Assuming same electricity usage as Insinkerator Waste Xpress. Assuming error = ±10% | Electricity charge | 0 | 0 | 0 | 0
WW charge | 0 | 0 | 0 | 0 | The slurry goes to the tank. Little to no water down the drain. | WW charge | 0 | 0 | 0 | 0
Freshwater charge | 21.1922 | 10.5961 | 21.1922 | 31.7882 | Their website says 1-2 gpm. Low = 1 gpm, Med = 2 gpm, High = 3 gpm | Freshwater charge | 0 | 0 | 0 | 0
Hauling fee | 354.8926 | 236.5951 | 354.8926 | 473.1902 | Based on hauling charge for tanker trucks from SWP. Data from UCSD. Assuming 3 gpm water inflow. Low: $20/kgal, Med: $30/kgal, High: $40/kgal | Labor cost @ UofI | 3360 | 2688 | 3360 | 4480 | Low: $12/hour, Med: $15/hour, High: $20/hour. 1 hour/day, 32 weeks.
Tipping fee | 1064.6779 | 473.1902 | 1064.6779 | 1301.273 | Low: $0.04/gal; Med: $0.09/gal; High: $0.11/gal. 3gpm water added. 32 wks | Hauling fee | 844.9825 | 633.7368 | 844.9825 | 1267.4737 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10% | Tipping fee | 363.8494 | 327.4645 | 363.8494 | 400.2344 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
IOT fee | 1548 | 1548 | 1548 | 1548 | Optional: Internet of Things (IoT) monthly charge $129. Not recommended | Labor cost | 211.2456 | 190.1211 | 211.2456 | 232.3702 | $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Annual Operating Cost | 4040.7627 | 3060.3813 | 4040.7627 | 4666.2514 |  | Maintenance | 0 | 0 | 0 | 0
Total Annual Cost | 9564.7498 | 8082.1878 | 9564.7498 | 10692.4192 | Annual Capital Cost + Annual Operating Cost
[6 empty] | Annual Operating Cost | 4780.0775 | 3839.3224 | 4780.0775 | 6380.0783
Value | [5 empty] | Total Annual Cost | 5126.9388 | 4112.4532 | 5126.9388 | 6819.1027 | Annual Capital Cost + Annual Operating Cost
Option 1
Electricity Value | 201.351 | 181.2159 | 201.351 | 221.4861 | Based on information provided by UCSD. Error = ±10% | Value
RECs ($1.5/MWh) | 8.2024 | 7.3821 | 8.2024 | 9.0226 | Assuming $1.5/MWh electricity generated. Error = ±10% | Option 1
Heating Value | 38.2877 | 34.459 | 38.2877 | 42.1165 | Based on information provided by UCSD. Error = ±10% | Electricity Value | 201.351 | 181.2159 | 201.351 | 221.4861 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -122.3989 | -110.159 | -122.3989 | -134.6388 |  | RECs ($1.5/MWh) | 8.2024 | 7.3821 | 8.2024 | 9.0226 | Assuming $1.5/MWh electricity generated. Error = ±10%
Annual Electricity and RECs Value | 125.4422 | 112.898 | 125.4422 | 137.9864 | Net value | Heating Value | 38.2877 | 34.459 | 38.2877 | 42.1165 | Based on information provided by UCSD. Error = ±10%
[6 empty] | Maintenance (Electricity gen) | -122.3989 | -110.159 | -122.3989 | -134.6388
Option 2 | [5 empty] | Annual Electricity and RECs Value | 125.4422 | 112.898 | 125.4422 | 137.9864 | Net value
Renewable credit sales
RINs | 425.3176 | 159.4941 | 425.3176 | 584.8117 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN | Option 2
LCFS | 96.3326 | 48.1663 | 96.3326 | 144.4989 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e | Renewable credit sales
Total Renwable Credit Sales Value | 521.6502 | 207.6604 | 521.6502 | 729.3106 |  | RINs | 425.3176 | 159.4941 | 425.3176 | 584.8117 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
RNG Value | 54.3173 | 48.8856 | 54.3173 | 59.749 | RNG = $3/MMBTU. Error = ±10% | LCFS | 96.3326 | 48.1663 | 96.3326 | 144.4989 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Upgradation cost | -13.9107 | -12.5196 | -13.9107 | -15.3017 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years | Total Renwable Credit Sales Value | 521.6502 | 207.6604 | 521.6502 | 729.3106
O&M cost | -182.3149 | -164.0834 | -182.3149 | -200.5464 | Based on Alton (EcoEngineer) Report. Error = ±10% | RNG Value | 54.3173 | 48.8856 | 54.3173 | 59.749 | RNG = $3/MMBTU. Error = ±10%
RNG Marketing cost | -104.33 | -41.5321 | -104.33 | -145.8621 | 20% of the Credit Sales. Error = ±10% | Upgradation cost | -8.0192 | -7.2173 | -8.0192 | -8.8211 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
Net RNG and Credit sales value | 275.4119 | 38.4109 | 275.4119 | 427.3494 | Net Value | O&M cost | -182.3149 | -164.0834 | -182.3149 | -200.5464 | Based on Alton (EcoEngineer) Report. Error = ±10%
[6 empty] | RNG Marketing cost | -104.33 | -41.5321 | -104.33 | -145.8621 | 20% of the Credit Sales. Error = ±10%
Carbon Offsets | 0 | 0 | 0 | 0 |  | Net RNG and Credit sales value | 281.3034 | 43.7132 | 281.3034 | 433.83 | Net Value
[6 empty] | Carbon Offsets | 0 | 0 | 0 | 0
Food waste Calculator (Busey Evans)
Food waste Total (lbs/week) | 24000
Water added (in Gallons at 5gpm) | 9000
Food waste (in lbs/week) | 1056.2281
Food waste (in tons/week) | 0.52811
Solid content | 15%
Water Content | 85%
Solid in Food Waste (in tons) | 0.079217
Fresh Water added (3 gpm; in gallons) | 717.8414
Fresh Water added (3 gpm; in tons) | 2.8714
Volume reduction | 85%
Volume before dewatering (tons/week) | 3.3995
Solid concentration before dewatering | 2.33%
Volume after dewatering (tons/week) | 0.50992
Solid content after dewatering (in tons) | 0.079217
Solid content after dewatering (in %) | 15.54%
Food waste (in lbs/day) | 150.8897
(Assumption) Capacity of a 32 gallon bin (in lbs) | 100
No. of bins needed (per day) | 2
No. of bins needed (per week; hauling 3 times a week) | 5
Tri-Cycle Pulper (Insinkerator) Presentation: Busey Evans
| Unit | installation
|  | Low | Medium | High
ISR | 25000 | 12500 | 18750 | 25000
Collection (Blue bin) | 8000 | 0 | 0 | 0 | 32 gallon blue recycling bins. Assuming $80 ea
Construction at UCSD for Solid waste | 3740.8078 | 2860.6177 | 3740.8078 | 4841.0454
Total | 33000 | 15360.6177 | 22490.8078 | 29841.0454
Capital Cost Total
Total | 55490.8078 | 48360.6177 | 55490.8078 | 62841.0454 | Unit + Installation
Interest rate | 3% | 3% | 3% | 3% | Annual Interest rate. - Assumption based on data from Morgan White
Life of equipment (in years) | 15 | 15 | 15 | 15 | Assumption based on data from Insinkerator sales rep.
Discount Factor | 11.9379 | 11.9379 | 11.9379 | 11.9379
Total Annual Capital Cost | 4648.2752 | 4051.0036 | 4648.2752 | 5263.9795 | Yearly amortized cost at 3% interest for 15 years. Annual cost = Total/Discount Factor
Operating Cost
Electricity charge | 175 | 130 | 175 | 185 | Data from Insinkerator Sales Rep. Low: 1.5 kWh, Med: 2.0 kWh, High: 2.1 kWh. Runs 5 hrs/day. 32 wks
WW charge | 76.9526 | 69.2573 | 76.9526 | 84.6479 | 3 gpm, 32 wks. $3.35/kgal sanitary fee. Error = ±10%
Freshwater charge | 96.0185 | 86.4166 | 96.0185 | 105.6203 | 3 gpm, 32 wks. $4.18/kgal freshwater fee. Error = ±10%
Hauling fee | 844.9825 | 633.7368 | 844.9825 | 1267.4737 | $50/hour for F&S drivers, half a day per week 3 trip per week, 32 weeks. Low: 3hrs, high: 6 hrs
Tipping fee | 351.3158 | 316.1842 | 351.3158 | 386.4474 | $0.09/gal or $21.53/wet ton. 85% water removal. Error = ±10%
Labor cost | 211.2456 | 190.1211 | 211.2456 | 232.3702 | $50/hr. 3 trips per week, 1 hour per trip. 32 weeks. Error = ±10%
Maintenance | 2500 | 2250 | 2500 | 2750 | Assuming maintenance cost is same as EnviroPure. Data from Thurman. Error = ±10%
Alternative Hauling fee | 244.7625 | 220.2863 | 244.7625 | 269.2388 | Alternative hauling fee. External haulers. $15/ton. 1 trip a week. Error = ±10%
Annual Operating Cost | 4255.515 | 3675.7161 | 4255.515 | 5011.5594
Total Annual Cost | 8903.7902 | 7726.7197 | 8903.7902 | 10275.5389 | Annual Capital Cost + Annual Operating Cost
Value
Option 1
Electricity Value | 201.351 | 181.2159 | 201.351 | 221.4861 | Based on information provided by UCSD. Error = ±10%
RECs ($1.5/MWh) | 8.2024 | 7.3821 | 8.2024 | 9.0226 | Assuming $1.5/MWh electricity generated. Error = ±10%
Heating Value | 38.2877 | 34.459 | 38.2877 | 42.1165 | Based on information provided by UCSD. Error = ±10%
Maintenance (Electricity gen) | -122.3989 | -110.159 | -122.3989 | -134.6388
Annual Electricity and RECs Value | 125.4422 | 112.898 | 125.4422 | 137.9864 | Net value
Option 2
Renewable credit sales
RINs | 425.3176 | 159.4941 | 425.3176 | 584.8117 | Low: $0.75/RIN; Med: $2/RIN; High: $2.75/RIN
LCFS | 96.3326 | 48.1663 | 96.3326 | 144.4989 | Low: $50/MTCO2e; Med: $100/MT CO2e; High: $150/MT CO2e
Total Renwable Credit Sales Value | 521.6502 | 207.6604 | 521.6502 | 729.3106
RNG Value | 54.3173 | 48.8856 | 54.3173 | 59.749 | RNG = $3/MMBTU. Error = ±10%
Upgradation cost | -8.0192 | -7.2173 | -8.0192 | -8.8211 | Proportioned. Equipment Cost = $1M, Ammortized 3%. 10 years
O&M cost | -182.3149 | -164.0834 | -182.3149 | -200.5464 | Based on Alton (EcoEngineer) Report. Error = ±10%
RNG Marketing cost | -104.33 | -41.5321 | -104.33 | -145.8621 | 20% of the Credit Sales. Error = ±10%
Net RNG and Credit sales value | 281.3034 | 43.7132 | 281.3034 | 433.83 | Net Value
Carbon Offsets | 0 | 0 | 0 | 0

## Comparing all options
| Cap Cost (Equipment, Bins & Construction) | Annualized Capital Cost (Amortized) | Operating Cost | Biomix | Electricity Aerobic Digestion | Maintenance | UCSD Delivered Waste Fee | Hauling | Labor (at UofI and UCSD) | Electricity | Freshwater | Sewer | IoT fee (Not Recommended) | Annual Operating Cost | Total Annual Cost
Current 1 | 1270000 | 106383.5572 |  | 25000 | 4665.5973 | 15000 | $ - | $ - | $ - | 807.1741 | 1203.84 | 7200 | $ - | 53876.6114 | 160260.1686
Current 2 | 270000 | 22616.9767 |  | 25000 | 4665.5973 | 15000 | $ - | $ - | $ - | 807.1741 | 1203.84 | 7200 | $ - | 53876.6114 | 76493.5882
Grinder: Grind2Energy | 395670 | 33143.9229 |  | $ - | $ - | 15000 | 24192 | 8064 | $ - | 600 | 481.536 | 0 | 9288 | 48337.536 | 81481.4589
Pulper 1: Tri-Cycle Unit | 350700 | 29376.9398 |  | $ - | $ - | 15000 | 3472.3584 | 19200 | 4800 | 1050 | 722.304 | 578.88 | $ - | 44823.5424 | 74200.4822
Pulper 2: Waste Xpress | 248340 | 20802.5926 |  | $ - | $ - | 15000 | 6820.704 | 19200 | 4800 | 600 | 1805.76 | 1447.2 | $ - | 49673.664 | 70476.2566
Pulper 3: Somat | 612640 | 51318.7579 |  | $ - | $ - | 15000 | 2273.568 | 19200 | 4800 | 600 | 481.536 | 385.92 | $ - | 42741.024 | 94059.7819
Off-siteGrinder | 91960 | 7700 |  | $ - | $ - | $ - | 8265 | 38400 | 28320 | $ - | $ - | $ - |  | 74985 | 82685
| Capital Cost (Equipment, Collection bins and construction) | Annual Capital Cost (Amortized) | Operating Cost | Biomix | Electricity Aerobic Treatment | Maintenance | UCSD Delivered Waste | Hauling | Labor Cost (at UofI + UCSD) | Electricity | Freshwater | Sewer Discharge |  | Annual Operating Cost | Total Annual Cost
Current | $1.27M | 106400 |  | 25000 | 4665 | 15000 | $ - | $ - | $ - | 800 | 1200 | 7200 |  | 53865 | 160265
Slurry | 395670 | 33150 |  | $ - | $ - | 15000 | 24200 | 8050 | $ - | 600 | 480 | $ - |  | 48330 | 81480
Pulped | 330940 | 27725 |  | $ - | $ - | 15000 | 3475 | 19200 | 4800 | 1050 | 725 | 580 |  | 44830 | 72555
Off-site Grinder | 91960 | 7700 |  | $ - | $ - | $ - | 8265 | 38400 | 28320 | $ - | $ - | $ - |  | 74985 | 82685